## Electricity
Energy Purchasing Specification Worksheets
Energy Source: | Electricity
Potential Specification Factors
Factor | Is this factor important to our "effective energy use?" (Y or N) | Defined Value | Included in Spec? (Y or N)
Quality
Voltage
Amperage
Peak demand
Power factor supplied
Allowable variation in supply voltage
"Green" energy generated from renewable sources, i.e. renewable energy credits (RECs)
Quantity
Available supply, units (ex. 10,000 kWh)
Billing period (day, week, month, other)
Is supply interruptible?
Meter reading: manual by utility or customer, estimated, electronic
Reliability
Time period interruptions are allowed without cost penalty to utility?
Allowable variation in supply voltage
Cost Factors
Type of rate: fixed cost, block, time-of-use, real-time pricing, other
Marginal cost of energy (¢/kWh)
Fuel cost adjustment included?
Marginal cost of demand ($/kW-mo)
Meter or account charges
Premium for green electricity, $/kWh
Electricity sheet, Energy Purchasing Specification Worksheets
50001 Ready Navigator (https://navigator.industrialenergytools.com) |  |  | 2017-02-01
© 2017 Georgia Tech Research Corporation and U.S. Department of Energy

## Natural Gas
Energy Purchasing Specification Worksheets
Energy Source: | Natural Gas
Potential Specification Factors
Factor | Is this factor important to our "effective use of energy?" (Y or N) | Defined Value | Included in Spec? (Y or N)
Quality
Moisture
Composition
Energy content
Allowable inert compounds, N2, CO2, etc. (not including water)
Peak demand
Gas pressure at meter discharge (in. water)
Quantity
Contract amount supplied-Max (Dekatherm/mo)
Delivery period (day, week, month, other)
Is supply interruptible?
Reliability
Allowable variation in energy content
Allowable variation in supply
Cost Factors: supply units:______________
Cost per unit: commodity cost
Cost for firm supply (non-interruptible)
Cost for delivery: interstate pipeline
Cost for delivery: intrastate pipeline
Account charges, i.e. metering, meter reading, invoicing, etc.
Natural Gas sheet, Energy Purchasing Specification Worksheets
50001 Ready Navigator (https://navigator.industrialenergytools.com) |  |  | 2017-02-01
© 2017 Georgia Tech Research Corporation and U.S. Department of Energy

## Fuel Oil
Energy Purchasing Specification Worksheets
Energy Source: | Fuel Oil
Fuel oil designation: #1, #2, #3, #4, #5, #6
Potential Specification Factors
Factor | Is this factor importanti to our "effecitve use of energy?" (Y or N) | Defined Value | Included in Spec? (Y or N)
Quality
% Moisture
Energy content
Ash content
Sulfur content
Heavy metal content: designation and amount in ppm
Quantity
Amount supplied (shipment size)
Delivery period (day, week, month, as requested, other)
Supplied units (lb, ton, cu. ft.. Etc.)
Reliability
Allowable delays in delivery shipments
Allowable variation in shipment quantities (i.e. gal, cu ft, etc.)
Cost Factors
Cost per unit
Cost for delivery
Premium for express delivery
Electricity sheet, Energy Purchasing Specification Worksheets
50001 Ready Navigator (https://navigator.industrialenergytools.com) |  |  | 2017-02-01
© 2017 Georgia Tech Research Corporation and U.S. Department of Energy

## Solid Fuel
Energy Purchasing Specification Worksheets
Energy Source: | Solid Fuel
Type: | Coal Wood Solid waste Agricultural waste Other: __________
Potential Specification Factors
Factor | Is this factor important to our "effective use of energy?" (Y or N) | Defined Value | Included in Spec? (Y or N)
Quality
Moisture
Composition
Size of material
Energy content
Ash content
Sulfur content
% Waste, unusable
Quantity
Amount supplied (shipment)
Delivery period (day, week, month, other)
Is supply interruptible?
Period interruptions allowed? (time)
Reliability
Allowable variation in energy content
Allowable variation in quantity supplied
Cost Factors
Cost per unit
Cost for guaranteed deliveries (firm supply)
Other cost factors, define: ___________
Cost for delivery
Premium for express delivery
Solid Fuel sheet, Energy Purchasing Specification Worksheets
50001 Ready Navigator (https://navigator.industrialenergytools.com) |  |  | 2017-02-01
© 2017 Georgia Tech Research Corporation and U.S. Department of Energy