## Worksheet
Energy Use Worksheet
In order to better understand your organization’s energy use it is important to identify the systems, equipment, processes and operations that use the most significant
amounts of energy. Most organizations do not have the sub-metering necessary to identify the significant energy uses. You could schedule an energy assessment
with your utility providers, or with someone who could monitor equipment use for a set time period and provide an estimate for the systems in your organization.
This can be expensive. A simple method to help you get started is to do a simple energy balance based on load estimates for the equipment and systems operating
at your facility. This can be balanced with your energy purchases to provide a rational basis for the assumptions you have made about load and operating hours.
To estimate your energy load you will need to identify the nameplate energy use for each piece of energy using equipment. To get annual totals, nameplate energy use
is multiplied by estimated annual operating hours and estimated load and duty factors. Finally this number is multiplied by a conversion factor to get all of your
energy use in millions of Btu per year (also written as MMBtu or MMBTU). By converting all sources and all uses of energy to the same units (MMBtus) per year,
it provides a way to benchmark and compare all the sources and uses, and conveniently identify the energy uses that are significant. If your estimates are accurate,
energy use should be close to energy purchases. If these are not close, you will need to review your estimates of hours of operation and load and adjust these as
necessary to approximate your energy balance. Example equipment and systems are shown to the right of the table. Please edit these to fit your organization.
Refer to the next sheet for common conversion factors.
Energy Using Equipment/Systems | Total Size/Capacity | Units | Estimated Hrs/Year | Load Factor | Duty Factor | Conversion Factor | Energy Consumption MMBtu/yr | % of Total
|  |  |  | (%) | (%) |  |  |  | Potential Energy Using Equipment/Systems
[7 empty] | 0 | 0% | Indoor Lighting
[7 empty] | 0 | 0% | Outdoor Lighting
[7 empty] | 0 | 0% | Space Heating
[7 empty] | 0 | 0% | Space Cooling/Air Conditioning
[7 empty] | 0 | 0% | Office Equipment/Plug load
[7 empty] | 0 | 0% | Domestic Type Hot Water Heater(s)
[7 empty] | 0 | 0% | Hot Water System
[7 empty] | 0 | 0% | Commercial and Industrial Hot Water or Steam Boiler(s)
[7 empty] | 0 | 0% | Steam System
[7 empty] | 0 | 0% | Air Compressors
[7 empty] | 0 | 0% | Compressed Air System
[7 empty] | 0 | 0% | Fans & Ventilation (not associated with Space Heating & Cooling)
[7 empty] | 0 | 0% | Pumps
[7 empty] | 0 | 0% | Ovens or Process Heating Equipment
[7 empty] | 0 | 0% | Conveyors
[7 empty] | 0 | 0% | Conveyor System
[7 empty] | 0 | 0% | Refrigeration Units
[7 empty] | 0 | 0% | Refrigeration Systems
[7 empty] | 0 | 0% | Cooling Tower(s)
[7 empty] | 0 | 0% | Water Chillers(not potable water coolers)
[7 empty] | 0 | 0% | Chilled Water System
[7 empty] | 0 | 0% | Large Motors (not included above)
[7 empty] | 0 | 0% | Other Process Equipment (not included above)
[7 empty] | 0 | 0% | Other Equipment (not included above)
[7 empty] | 0 | 0%
[7 empty] | 0 | 0%
[7 empty] | 0 | 0%
[7 empty] | 0 | 0%
[7 empty] | 0 | 0%
[7 empty] | 0 | 0%
[7 empty] | 0 | 0%
[7 empty] | 0 | 0%
[7 empty] | 0 | 0%
[7 empty] | 0 | 0%
[7 empty] | 0 | 0%
[7 empty] | 0 | 0%
[7 empty] | 0 | 0%
[7 empty] | 0 | 0%
[7 empty] | 0 | 0%
[7 empty] | 0 | 0%
[7 empty] | 0 | 0%
[7 empty] | 0 | 0%
[7 empty] | 0 | 0%
[7 empty] | 0 | 0%
[7 empty] | 0 | 0%
Total | [6 empty] | 0 | 0%
Energy Use Worksheet
50001 Navigator (https://navigator.industrialenergytools.com) |  | February 2017
© 2017 Georgia Tech Research Corporation and U.S. Department of Energy

## Units Conversion
Energy & Units
Nameplate data for most equipment in the United States is written in English or Imperial units. Motors are rated in horsepower or HP, heaters
are rated in British thermal units or Btu, appliances and light fixtures are rated in watts or kilowatts (1 kilowatt=1000 watts). Sometimes
nameplate information will contain both English and SI or metric information. Just be sure when you are identifying your equipment that you
get the best information available about the rated size or energy consumption for your unit or system. Below are some handy conversion
factors to help you in your efforts to balance your energy use and consumption.
To go from: | To: | Operation | Factor
Watts | Kilowatts | Multiply by | 0.001
HP | MMBTU | Multiply by | 0.002545
HP | kW | Multiply by | 0.745
Kilowatts | MMBTU | Multiply by | 0.003412
Therms | MMBTU | Multiply by | 0.1
Dekatherms | MMBTU | Multiply by | 1
Megawatts | MMBTU | Multiply by | 3.412