# Equipment List for a Commercial Building

Commercial Office Building

Equipment list of major facility systems

| Description | Capacity | Operating Hours |
| --- | --- | --- |
| Electrical |  |  |
| Chiller | 100 ton | 1040 |
| Chiller pumps | ½ - 1 HP | 1040 |
| Air handler fans | 2-10 hp | 2080 |
| Elevator | 500 kW | 2080 |
| Copy Machines | 10 kW | 2080 |
| Computers | 5 kW | 2080 |
| Printers | 2 kW | 2080 |
| Lighting | 69 kW | 2080 |
| Natural gas |  |  |
| Gas heater | 10 MMBtuh | 1040 |
| Water heater | 50,000 Btu/hr | 2080 |